Crystal Structure Report for Goldberg

Submitted by Avery Luedtke

Sample ID – atl-iv167

by Jason B. Benedict

and Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\goldberg\avery\atl-iv167

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A yellow crystal prism cut down to 0.36 x 0.24 x 0.12 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




3.70
-24.5
160  
 0 

2
      
(        
106.5




3.70
-145.9
-207.5 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 1.7o.   Data collection was 92.5% complete to 28.30o and 98.7% complete to 25o  in (.  A total of 45699 partial and complete reflections were collected covering the indices, h = -25 to 25, k = -11 to 10,  l = -21 to 21.  6001 reflections were symmetry independent and the Rint = 0.0814 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No.14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/()2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

This structure consists of a non-centrosymmetric Pt dimer that packs into the centrosymmetric space group P 21/c. The Pt1-C19 and Pt2-C5 dimer bonds are 2.57 Å long, illustrated in the figure to the right. An illustration showing the hydrogens can be found on the following page. The cifcheck routine returns several warnings related to the absorption correction in this structure. The authors of this report should be consulted prior to the submission of any manuscript containing this structure for further assistance and explanations.




