Crystal Structure Report for K. Goldberg
Submitted by Andrew Pawlikowski 

Sample ID – avpPtIVSulf
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

28. September 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear crystal prism, size 0.46 x 0.24 x 0.17 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with four sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
183.0




3.70
-1.5
160  
 0 

2
      
(        
91.5




3.70
94.1
-200.1 
 74.1           

3
      
(        
51.5




3.70
-145.9
-185.1 
 74.1           

4
      
(        
41.5




3.70
-25.9
-175.1 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 15 seconds per degree for all sets.  The scan width was 1.7o.   Data collection was 93.9% complete to 28.32o and 99.1% complete to 25o  in (.  A total of  71296 partial and complete reflections were collected covering the indices, h = -12 to 14, k = -19 to 18,  l = -18 to 19.  10376 reflections were symmetry independent and the Rint = 0.0527 indicated that the data was better than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

A disordred system of one THF and one ether are sitting about at the same location in the lattice, with a ratio of 57(1)% THF and the rest ether.  Possibly concommitant with the solvent disorder is one that affects the butane C40-C43, ca. 1:1 disordered with C40 C51-C53. This disorder, however, could also result from strong librative motion. As a result, of these disorders, the bond distances in the ether were restraint. Also, using the DELU model, the thermal motion along bonds in ether and THF were equalized. The thermal parameters of C41 -C43, C51- C53 were restraint as well, which is required for refinement stability if atoms in disordered groups are still very close to each other (C41/C51, C42/C52/C53). The minor solvent component ether and the disorder of the butyl have been omitted in the ortep plot for clarity.



_1097643391.unknown

