Crystal Structure Report for Sasaki

Submitted by Byung In Kim 

Sample ID – bpy

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\robinson\yi\YL073

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear crystal plate cut down to 0.26 x 0.24 x 0.01 mm was mounted on a glass capillary with oil.  The plate was selected because it was big enough, inclusion free and showed uniform birfringence and extinction under the polarized light microscope. Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
106.5




3.70
-145.9
-200.1 
 74.1            

2
      
(        
106.5




3.70
94.1
-200.1 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 100 seconds per degree for all sets.  The scan width was 1o.   Data collection was 79.0% complete to 25.41o and 82.1% complete to 25o  in (.  A total of  6417 partial and complete reflections were collected covering the indices, h = -29 to 30, k = -5 to 5,  l = -28 to 28.  1997 reflections were symmetry independent and the Rint = 0.1440 indicated that the data was problematic (average quality 0.07). 

Indexing and unit cell refinement indicated a monoclinic C lattice.  The space group was found to be C c (No.9). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/()2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a partially complete heavy atom phasing model consistent with part of the proposed structure. The model was completed using additional fourier peaks found in successive refinement cycles.

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

Two independent molecules were found. The molecules are hydrogen-binding head to tail with symmetry related molecules and there is no evidence for the presence of a lactose- or NH2- moiety.

Specified hydrogen bonds (with esds except fixed and riding H)

D-H  H...A D...A     <(DHA)

0.84 2.21  2.757(19) 122.7  O1-H1A...N2_$1

0.84 1.96  2.721(16) 149.8  O2-H2A...N4_$2

Symmetry op. $1 x, 1-y, -0.5 +z

Symmetry op. $2 x, -y, -0.5 +z
One question concerned the stereochemistry of the bipyridin in the absence of a metal with which it often is found to build a complex in cis-configuration. When in cis-configuration, the distance between hydrogen atoms on C4-C7 and C22-C25 were too short. In addition, better thermal parameters were calculated with slightly smaller final R1-value when the trans-configuration was used. The hydrogen atoms themselfs were not visible caused by a limited data quality and were assigned by a riding model in optimized geometry. The hydroxy-hydrogen atoms were optimized in a rotating model with fixed distance and angle towards the oxygen.

The cif-file for this structure has been edited for submission-readiness in Acta Cryst.




