Crystal Structure Report for J Kovacs

Submitted by Lisa Brines 

Sample ID – brines03

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\kovacs\brines\brines03

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A yellow crystal prism size 0.59 x 0.22 x 0.19 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
183.0




3.70
-254.3
160  
 0 

2
      
(        
9.9




3.70
145.9
-165.0 
 -74.1           

Crystal-to-detector distance was 30 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 1.4o.   Data collection was 96.8% complete to 28.35o and 99.4% complete to 25o  in (.  A total of  44196 partial and complete reflections were collected covering the indices, h = -15 to 15, k = -18 to 18,  l = -28 to 27.  8174 reflections were symmetry independent and the Rint = 0.055 indicated that the data was goo (average quality (0.07). 

Indexing and unit cell refinement indicated a primitive orthorhombic lattice.  The space group was found to be non-centrosymmetric,  P 21 21 21 (No. 19). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).  Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

A solvent molecule, (ether) was found,  that occupies only 67% of the unit cell. One of the two PF6- anions is rotating, which was approximated by a disorder model of two moieties, rotated by about 45 degrees around a F-P-F axis. The thermal parameters and distances of this disordered PF6- are restraint to well established values.

The dimer is bridged by one Cl-, and an oxygen atom. The assignement of oxygen instead of nitrogen is achieved as follows: when trying nitrogen on this position, the R1 value increases by about 0.1, moreover, the thermal parameters decrease to a third of those of the neighbouring atoms which clearly indicates a wrong element assigment. Oxygen however, lowered the R1 and shows thermal parameters that agree with those of the neighbouring atoms. The distance toward Fe is with 2.041(3) Å and 2.005(3) Å significantly shorter than those of N-Fe: 2.106(4) - 2.340(4) Å. Planar, three-coordinated oxygen seems to occur in literature, mainly in theoretical treatments. Oxygen-metal bonds are around 2 Å as observed here. The coordination of the Fe-complexes are different, showing one being hugely distorted, indicated with a dashed bond to the oxygen. 




_1097643391.unknown

