Crystal Structure Report for J Kovacs
Submitted by Lisa Brines 

Sample ID – brines06
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

19. April 2007
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\kovacs\brines\brines06
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A brownish black crystal plate cut down to 0.41 x 0.30 x 0.26 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
62.6




3.70
4.7
160  
 0 

2
      
(        
42.5




3.70
25.9
-210.0 
 -74.1           

Crystal-to-detector distance was 30 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 2o.   Data collection was 88.8% complete to 29.87o and 99.0% complete to 25o  in (.  A total of  36608 partial and complete reflections were collected covering the indices, h = -31 to 31, k = -31 to 31,  l = -31 to 31.  4752 reflections were symmetry independent and the Rint = 0.069 indicated that the data was of average quality (0.07). 

Indexing and unit cell refinement indicated a cubic I lattice.  The space group was found to be I213 (No. 199). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

Due to the high symmetry contrary to the image shown, the dimer is accomponied by only two full OTf anions, three of them are shown with 2/3 site occupancies.
The structure is non-centrosymmetric (PG 23), thus can possess many non-linear optical properties like optical activity (tensor component g11 = g22 = g33), as well as second harmonic generation and the electro-optic effect (tensor component r123). 

All statistical requirements for Acta Cryst. are met.




_1097643391.unknown

