Crystal Structure Report for J Kovacs
Submitted by Lisa Brines 

Sample ID – brines07
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

16. December 2005
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\kovacs\brines\brines07
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A brownish black crystal plate cut down to 0.59 x 0.38 x 0.26 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with three sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




7.80
-0.5
160  
 0 

2
      
(        
91.8




7.80
94.1
-200.1 
 74.1           

3
      
(        
91.8




7.80
25.9
-185.0 
 -74.1
Crystal-to-detector distance was 40 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 1.4o.   Data collection was 96.8% complete to 28.28o and 99.1% complete to 25o  in (.  A total of  67479 partial and complete reflections were collected covering the indices, h = -17 to 17, k = -23 to 23,  l = -28 to 28.  9842 reflections were symmetry independent and the Rint = 0.0490 indicated that the data was better than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P21/c (No. 14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The asymmetric unit  filled with a dimer, 1.4 PF6 and 1.6 triflate. The fractional site-occupancy results from a solid solution of the two anions occupying the same space (P2... S2...). 

Accordingly, the structure around N1 is disordered (Restraints on thermal parameters of C7 to C11, C7B to C11B).
This part of the dimer is facing the mixed anion.
All statistical requirements for Acta Cryst. are met.



_1097643391.unknown

