Crystal Structure Report for J Kovacs
Submitted by Lisa Brines 

Sample ID – brines18
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

02. January 2007
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless prism, size 0.48 x 0.26 x 0.26 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with three sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
183.0




3.70
-262.3
160  
 0 

2
      
(        
24.9




3.70
145.9
-170 
 -74.1 
3
      
(        
106.5




3.70
-145.9
-207.5 
 74.1          

Crystal-to-detector distance was 30 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 1.3o.   Data collection was 97.7% complete to 28.28o and 98.3% complete to 25o  in (.  A total of  68793 partial and complete reflections were collected covering the indices, h = -18 to 18, k = -27 to 28,  l = -55 to 55.  3831 reflections were symmetry independent and the Rint = 0.0382 indicated that the data was excellent (average quality 0.07). 

Indexing and unit cell refinement indicated an orthorhombic F lattice.  The space group was found to be F d d d (No. 70).
The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model quite inconsistent with the proposed structure. Solvent, cations, and anions in the reaction chemistry accumulated in a lattice forming extremely air-sensitive crystals (survive less then a second when removed from thick oil cover).
All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 




_1097643391.unknown

