Crystal Structure Report for J Mayer
by Caroline Saouma & Werner Kaminsky

Sample Submitted by Caroline Saouma
ID – car02b
X-ray Crystallography Laboratory

University of Washington

27. May 2011
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A brown prism, measuring 0.60 x 0.15 x 0.10 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 20 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 98.9% complete to 25o  in (.  A total of  126675 (merged) reflections were collected covering the indices, h = -32 to 32, k = -41 to 41,  l = -13 to 13.  15248 reflections were symmetry independent and the Rint = 0.0439 indicated that the data was good (0.07).  Indexing and unit cell refinement indicated a C-centered monoclinic lattice.  The space group was found to be C 2/c  (No.15). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The asymmetric unit consists of one dimer, as shown in Figure 1, accompanied by 3 tetraethylamine cations, two acetonitryles and one methanol. All solvents and cations are distributed over several locations in the asymmetric unit and heavily disordered. The fact that the iron atoms carry different valences (II, III) is manifest in the presence of hree only cations per dimer, a slight uniform elongation of thermal ellipsoids of the ligands as well as of the sulfurs along the Fe-Fe direction due to slightly different bond lengths to the iron atoms in different valence states, and the high amount of disorder of the cations. Despite the high degree of disorder, restraints were only applied to cations and solvent molecules and not to the dimer itself which shows also some disorder in the side chains.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit without solvent and cations.
[image: image1.png]s L gy
28 & N ~
"c4s © FC6 CT Ny
Jdc4 g2 NI CTN\





Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level, cations and solvent molecules omitted for clarity.
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C71 H114 Fe2 N13 O1 S2

Formula weight 
1341.573

Temperature 
110(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c 
Unit cell dimensions
a = 27.303(9) Å
= 90°.


b = 34.268(9) Å
= 98.320(15)°.


c = 18.170(5) Å
 = 90°.

Volume
16821(8) Å3
Z
8
Density (calculated)
1.060 Mg/m3
Absorption coefficient
0.438 mm-1
F(000)
5784

Crystal size
0.59 x 0.15 x 0.10 mm3
Theta range for data collection
2.12 to 25.35°.

Index ranges
-32<=h<=32, -41<=k<=41, -13<=l<=21

Reflections collected
126675

Independent reflections
15248 [R(int) = 0.0439]

Completeness to theta = 25.00°
98.9 % 

Max. and min. transmission
0.9575 and 0.7820

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
15248 / 272 / 951

Goodness-of-fit on F2
1.110

Final R indices [I>2sigma(I)]
R1 = 0.0621, wR2 = 0.1607

R indices (all data)
R1 = 0.0944, wR2 = 0.2059

Largest diff. peak and hole
0.711 and -0.374 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





