Crystal Structure Report for 

Cherif Ben Nasr

by Werner Kaminsky

ID – Cherif_K8

X-ray Crystallography Laboratory

University of Washington

13. March 2024
Data Collection  started: 3/5/2024

Documentation finished: 3/13/2024

Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A colorless block, measuring 0.30 x 0.23 x 0.22 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 1o.   Data collection was 100% complete to 25o  in (.  A total of  110418 partial and complete reflections were collected covering the indices, -14<=h<=14, -18<=k<=18, -14<=l<=14.  A total of 7844 merged and 3922 symmetry independent reflections with Rint = 0.xxxx were collected.  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/n  (No. 14). 

The data was integrated and scaled using hkl-SCALEPACK.
 This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure appeared to be pseudo-C-centered orthorhombic due to two-fold twinning along reciprocal (1 0-1), 38%.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image2.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C12 H14 Cl4 Hg N2

Formula weight 
528.64

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/n

Unit cell dimensions
a = 10.7741(2) Å
a= 90°.


b = 13.6136(3) Å
b= 92.8550(10)°.


c = 10.7705(2) Å
g = 90°.

Volume
1577.79(5) Å3
Z
4

Density (calculated)
2.225 Mg/m3
Absorption coefficient
10.419 mm-1
F(000)
992

Crystal size
0.300 x 0.230 x 0.220 mm3
Theta range for data collection
1.496 to 28.322°.

Index ranges
-14<=h<=14, -18<=k<=18, -14<=l<=14

Reflections collected
7844

Independent reflections
3922 [R(int) = 0.0853]

Completeness to theta = 25.242°
100.0 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
3922 / 84 / 175

Goodness-of-fit on F2
1.069

Final R indices [I>2sigma(I)]
R1 = 0.0387, wR2 = 0.0993

R indices (all data)
R1 = 0.0418, wR2 = 0.1005

Largest diff. peak and hole
2.881 and -2.688 e.Å-3
� Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.


� Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





_1097643391.unknown

