Crystal Structure Report for 

Sei-Hum Jang

by Werner Kaminsky

Sample Submitted by Francis Lin 

ID – Francis_5co2

X-ray Crystallography Laboratory

University of Washington

29. January 2021
Data Collection  started: 1/21/2021
Documentation finished: 1/21/2030
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A black prism, measuring 0.05 x 0.20 x 0.30 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 60 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.5% complete to 24.26o  in (.  A total of  56898 independent reflections were collected covering the indices, -15<=h<=15, -27<=k<=27, -36<=l<=36, Rint = 0.2258.  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1  (No. 2). 

The best crystal found still did not scatter well, as is commonly observed in this type of meterals, and in addition, the data appeared twinned via 180 degrees about (0 0 1) (CELL_NOW
) but multi-domain integration (SAINT, SADABS within the APEX2 software package by Bruker
) failed because the twin law is pseudo merohedral. However, an hkl-5 format data file was created utilizing the twin-law to allow for twin refinement.
Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
No direct solution was obtained, thus the solution of a similar structure was utilized as starting point. No c-crystal was found. The contribution of remaining mostly invisible disordered solvent to the diffraction pattern was removed with SQUEEZE.
 

The alkene side chains appeared all disordered which required application of restraints to bond geometries as well as thermal displacement parameters.
The structure is moderate quality but publishable. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity and solvent SQUEEZEd.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C180 H204 F8 N16 O4 S6 Se4

Formula weight 
3315.78

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 13.665(5) Å
a= 70.320(5)°.


b = 23.480(5) Å
b= 84.487(5)°.


c = 31.448(5) Å
g = 81.066(5)°.

Volume
9375(4) Å3
Z
2

Density (calculated)
1.175 Mg/m3
Absorption coefficient
0.911 mm-1
F(000)
3464

Crystal size
0.300 x 0.200 x 0.050 mm3
Theta range for data collection
1.325 to 24.256°.

Index ranges
-15<=h<=15, -27<=k<=27, -36<=l<=36

Reflections collected
56898

Independent reflections
56898 [R(int) = 0.2258]

Completeness to theta = 24.256°
99.5 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
56898 / 4842 / 2204

Goodness-of-fit on F2
1.087

Final R indices [I>2sigma(I)]
R1 = 0.1798, wR2 = 0.3353

R indices (all data)
R1 = 0.4326, wR2 = 0.4234

Largest diff. peak and hole
0.751 and -0.555 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





