Crystal Structure Report for B Cossairt
by Sarah Flowers and Werner Kaminsky

Sample Submitted by David Ung 

ID – du1_03
X-ray Crystallography Laboratory

University of Washington

30. January 2015
Data Collection  started: 1/26/2015
Documentation finished: 1/30/2015
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

An green piece, measuring 0.20 x 0.12 x 0.02 mm3 was mounted on a loop with oil.  Data was collected at -183oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 30 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 100% complete to 25o  in (.  
The data appeared twinned into two domains (CELL_NOW
) by a 180 degree rotation about [1 0 0] and after  multi-domain integration (SAINT, SADABS within the APEX2 software package by Bruker.
) and merging (twinabs
) a total of  5949 (merged) reflections covered the indices, h = -16 to 16, k = 0 to 24,  l = -7 to 7.  1675 reflections were symmetry independent and the Rint = 0.0491 indicated that the data was excellent  (average quality 0.07).  Indexing and unit cell refinement indicated a primitive orthorhombic lattice.  The space group was found to be P n m a  (No. 62). 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
In addition to the twinning, the structure exhibits a slight admixture of Br in the range of 10% leading to some disorder. Bond-distances and R1 parameter were inconclusive to distinguish between Co or Fe, both refine the structure nicely, but preference was given to Co as it was part of the proposed structure. The sum formula is (Cl, Br)2Co, 2(Cl, Br), C2 H10 N2.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C4 H20 Br0.84 Cl5.16 Co N4

Formula weight 
433.33

Temperature 
90(2) K

Wavelength 
0.71073 Å

Crystal system 
Orthorhombic

Space group 
P n m a

Unit cell dimensions
a = 12.8543(5) Å
= 90°.


b = 19.3204(8) Å
= 90°.


c = 6.1618(3) Å
 = 90°.

Volume
1530.28(11) Å3
Z
4

Density (calculated)
1.881 Mg/m3
Absorption coefficient
4.200 mm-1
F(000)
865

Crystal size
0.20 x 0.12 x 0.02 mm3
Theta range for data collection
2.11 to 26.86°.

Index ranges
-16<=h<=16, 0<=k<=24, -7<=l<=7

Reflections collected
5949

Independent reflections
1675 [R(int) = 0.0491]

Completeness to theta = 25.00°
100.0 % 

Max. and min. transmission
0.9207 and 0.4871

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
1675 / 0 / 87

Goodness-of-fit on F2
1.113

Final R indices [I>2sigma(I)]
R1 = 0.0319, wR2 = 0.0675

R indices (all data)
R1 = 0.0451, wR2 = 0.0709

Largest diff. peak and hole
0.737 and -0.700 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





