Crystal Structure Report for S Jenekhe
Submitted by Eilaf Ahmed 

Sample ID – eilaf002data2
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

02. January 2007
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A thin red needle, size 0.59 x 0.1 x 0.1 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with three sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




3.70
-16.5
160  
 0 

2
      
(        
86.5




3.70
-145.9
-200.1 
 74.1   
3
      
(        
71.5




0
-25.9
-172.5 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 2o.   Data collection was 97.6% complete to 25.35o and 98.0% complete to 25o  in (.  A total of  31066 partial and complete reflections were collected covering the indices, h = -22 to 2, k = -15 to 16,  l = -14 to 14.  2900 reflections were symmetry independent and the Rint = 0.1425 indicated that the data was slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic C lattice.  The space group was found to be C 2/c (No. 15). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

In case of small crystals, Mo radiation, and only H, C, N in the formula sum, Rint is going to increase with the amount of data. We decided to take as much data as possible rather than aiming at a smaller Rint.
H2 and H13 are intrinsically closer than usual H-H distances as a result of the structure. This collision like situation is avoided by a torsion of 7.4o between rings C1-C6 and C11-C13,C11'-C13' of the molecule which still leaves the two hydrogen atoms close at 1.86 Å (fig. 1).

[image: image2.wmf]C1

C2

C3

C4

C5

C6

C7

C14

C8

C9

C10

C20

C21

C22

C23

C24

C25

C11

C12

C13

N1

C19

C18

C17

C16

C15


Fig.1 ORTEP plot at 50% probability.
The crystals grow as thin needles. Indexing of the crystal faces is shown below in fig 2.

[image: image3.png]



Fig.2 . Indexed crystal habitus. Model drawn with the WinXMorph software (Kaminsky, 2004)
The observed faces are within the assemble of faces predicted with the Bravais-Friedel; Donnay-Harker model (fig. 3; Kaminsky, 2007); However, only very few of the observed crystals show the predicted habitus.
[image: image4.png]



Fig.3 Calculated morphology.

Growth is much elongated along the c-axis. This direction is ca. perpendicular to the phenyl rings C20-C25 and the stacking direction of the molecules. 
The stacking is best decribed by a slipped face-to-face pi-pi stack. The shortest distance between the molecules is inclined to the c-axis by ca. 32o as shown in the packing diagram, fig. 4. The molecule plane contains the b-axis. The N1 -N1' distance between adjacent molecules is with 3.47 Å almost exactly along the direction of the shortest distance between molecular planes which is 3.30 Å.
[image: image5.png]



Fig. 4. Packing diagram.
[image: image6.png]e
2 A
|

(G

_. l'li\l.‘i‘f(\‘i \

‘" '\.\'xw“\ffl:

[ A





Fig 5. Packing viewed down the c-axis.

References:
W. Kaminsky: WinXMorph: a computer program to draw crystal morphology, growth sectors and cross-sections with export files in VRML V2.0 utf8-virtual reality format. J. Appl. Crystallogr. 38 (2005) 566-567.


W. Kaminsky: From *.cif to virtual morphology using the WinXMorph program. J. Appl. Crystallogr. (2007) submitted.




_1097643391.unknown

