Crystal Structure Report for Kovacs

Submitted by Gloria Villar

Sample ID – gloria02

by Jason B. Benedict

and Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\kovacs\gloria\gloria02

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A purple crystal plate cut down to 0.29 x 0.12 x 0.12 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




3.70
-104.5
160  
 0 

2
      
(        
36.5




3.70
-25.9
-170.1 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 1.6o.   Data collection was 96.0% complete to 28.28o and 99.5% complete to 25o  in (.  A total of 47402 partial and complete reflections were collected covering the indices, h = -12 to 12, k = -23 to 26,  l = -28 to 28.  8679 reflections were symmetry independent and the Rint = 0.0738 indicated that the data was of about average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No.14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The asymmetric unit shown on the right consists of one cationic cobalt complex, a tetraphenyl borate anion, and an acetonitrile solvent molecule from the crystallization. In this structure the acetonitrile is not directly ligated to an ‘open’ coordination site of the cobalt. It is however, pointed directly at this site and hydrogen bonding to the amino nitrogens shielding this cavity, illustrated with red dashes in the figure on the following page. There is additional hydrogen bonding between the proton on N3 ands the sulpher atom of a symmetry related complex (not shown). A table of the hydrogen bonding parameters can be found in the shelxl.cif file.




_1097643391.unknown

