Crystal Structure Report for Robinson

Submitted by Gloria

Sample ID – gloria03

by R.S. and W.K.

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A samll crystal, sze  0.30 x 0.21 x 0.18 mm was mounted on a glass capillary with oil.  Data was collected at -143oC.

Crystal-to-detector distance was 30 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 1o.   Data collection was 99.0% complete to 25o  in (.  A total of  34240 partial and complete reflections were collected covering the indices, h = -19 to 18, k = -11 to 11,  l = -20 to 20.  2541 reflections were symmetry independent and the Rint = 0.0599 indicated that the data was good (average quality 0.07). 

Indexing and unit cell refinement indicated an orthorhonbic P lattice.  The space group was found to be P n m a. 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

Only one counterion was found which leaves the complex at  a 1+ charge. The interesting feature of this structure is a colision between hydrogen atoms of two CH2 groups. (H6A and H8B). The CH2 hydrogens were first fixed in distance and angle on C6 and C8 and were refined freely to rotate around C6 and C8 respectively. As a result a disctinct difference to the optimal geometrical assignement was visible that increased the distance between the colliding hydrogen atoms.

This structure also shows disorder with respect to a mirror going through N1, N2 S1, and Fe1 and similarly for the OTF-.

The structure is of publication quality and the cif file was edited accordingly, with a final R1 of 5.14%.




_1097643391.unknown

