Crystal Structure Report for Rathod
by Werner Kaminsky

Sample by Ramesh Gujjar
ID – GR100
X-ray Crystallography Laboratory

University of Washington

02. December 2008
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I have to pay for my own structures for my research.

A colorless needle, 0.59 x 0.07 x 0.07 mm3 of size was mounted on a glass capillary with oil.  Data was collected at -143oC.
Crystal-to-detector distance was 30 mm and exposure time was 80 seconds per degree for all sets.  The scan width was 1o.   Data collection was 90.4% complete to 25o in (.  A total of 35811 partial and complete reflections were collected covering the indices, h = -43 to 43, k = -43 to 43, l = -4 to 4.  2066 reflections were symmetry independent and the Rint = 0.0959 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a body centered tetragonal lattice.  The space group was found to I 41/a (No. 88).
The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model. All hydrogen atoms were located using a riding model with the exception of H1. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

In the packing diagram was observed that some of the intermolecular Fluoride - Fluoride distances are short. This problem arises from disorder of the CF3 group. Infact, when F1 (F4) is present, the symmetry related F2 (F5) of the same disordered moiety is absent which, if there were no defects or additional voids in the crystal, would require a structure with the disordered CF3 alternating, which in turn would cause a doubled c-axis length. There is evidence in the scattering for this to be partially the case as there are very faint reflections in the diffraction images pointing towards a doubled c axis, however, the order is not persistent throughout the whole crystal.
The disorder required a special refinement where the phenyl ring was constraint in its angles, but the average distance between the atoms was freely refined. The distances of the disordered rings to the neighboring atoms are as follows:

N1..  C4:  1.42(2)

N1..  C4':  1.44(2)

C12.. C1:  1.50(2)
C12'..C1':  1.51(2)
The structure exhibits channels surrounded by the polar CF3 groups that are partially occupied by water (14.4%).

N1 hydrogen bonds via H1 intramolecularily to N3 and intermolecularily to N4.

D-H  .. A  d(D-H)   d(H..A)  d(D...A)  <(DHA)

N1-H1..N3  0.82(4)  2.40(3)  2.784(4)  110(3)

N1-H1..N4' 0.82(4)  2.13(4)  2.913(4)  160(3) 



_1097643391.unknown

