Crystal Structure Report for B. Kahr
by Werner Kaminsky

Sample Submitted by John Freudenthal 

ID – herapathite
X-ray Crystallography Laboratory

University of Washington

05. February 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear yellowish prism, 0.30 x 0.24 x 0.10 mm was mounted on a glass capillary with oil.  Data was collected at -143oC.
Crystal-to-detector distance was 42.4 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 1o.   Data collection was 95.4% complete to 25o  in (.  A total of  178005 partial and complete reflections were collected covering the indices, h = -17 to 18, k = -21 to 22,  l = -42 to 42.  15854 reflections were symmetry independent and the Rint = 0.1396 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated an orthorhombic P lattice.  The space group was found to be P 2 21 21 (No.18). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97, SHELXS97) produced a partial heavy atom phasing model consistent with the proposed structure. The structure was completeted from remaining electron density maxima visible after successive refinements with SHELXL. 

Water hydrogen was attached using a rigid distance model with additional constraints resulting from donor-acceptor analysis of the structure. After refining the positions, the water hydrogens were fixed and the restraints removed. All other hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The molecule consists of 4 quinines (+2), 2 triodines (-1), 6 water, 3 SO42- and one acetic acid which is disordered over two lattaice positions with sucsequent disorder in the quinine therminal alkenes.
Similarily, the water shows partial occupancies and is distributed over 8 positions in the lattice with a distinct donor-accepter network linking them to each other and the SO42- anions.

The structure consists of two infinite channels parallel to the b-axis, one filled with the water and one filled with the triodines. Depletion of acetic acid or water through such channels is likely.

[image: image2.jpg]



Figure 1: Ortep of the asymmetric unit with thermal ellipsoids at 50% probability level showing quasi twofold symmetry, broken mainly by the triodines.

[image: image3.png]



Figure 2: packing seen along b-axis , a-axis upwords. 

[image: image4.png]



Figure 3: packing seen along a-axis, b-axis upwords. 
[image: image5.png]


 Figure 4: packing seen along c-axis, b-axis upwords. 

The crystal was indexed as well. Most of the samples were greyish in color and rather thin, however, after a few days several more yellowish in color crystals emmerged with a more prismatic habit. Indexing of thin as well as thicker samples aggreed in lattaice parameters and the (001) face as the larges face.

Below the result of the experimental indexing.

[image: image6.png]



Figure 5: Morphology of herepatite.
Prediction of morphology with the Bravais-Friedel; Donnay-Harker model shows the faces in following order from largest to smallest: (001),  (011), (100),  (101),  (110), (111) in fairly good aggreement with the indexed result. 

The projection of the  triodines is almost perfectly parallel to each other when seen from the c-face.




_1097643391.unknown

