Crystal Structure Report for D. Reed
by Werner Kaminsky

Sample Submitted by Haojin K 

ID – HK_02_0
X-ray Crystallography Laboratory

University of Washington

02. March 2025
Data Collection  started: 2/24/2025
Documentation finished: 3/2/2025
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A yellow needle, measuring 0.20 x 0.01 x 0.01 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.
Crystal-to-detector distance was 40 mm and exposure time was 120 seconds per frame for all sets.  The scan width was 0.75o.   Data collection was 100% complete to 24.4o  in (.  A total of  9788 merged reflections were collected covering the indices, -28<=h<=28, 0<=k<=30, -5<=l<=5.  4962 reflections were symmetry independent and the elevated Rint = 0.2361is indicative of the small sample size ( average quality 0.07).  Indexing and unit cell refinement indicated a primitive orthorhombic lattice.  The space group was found to be P n n 2  (No. 34). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

The contribution of disordered solvent to the diffraction pattern was removed with SQUEEZE

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure contains indefinite changes of KCl5, each potassium bridged to the next via a chlorine. The contribution of disordered solvent to the diffraction pattern was removed with SQUEEZE.
 
The material is an enantiomorphic twin.

The structure is of moderate.  Quality but publishable with explaining the small sample size. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the expanded structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C60 H56 Cl5 K N4

Formula weight 
1049.43

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Orthorhombic

Space group 
P n n 2

Unit cell dimensions
a = 24.471(9) Å
a= 90°.


b = 26.313(10) Å
b= 90°.


c = 4.6601(14) Å
g = 90°.

Volume
3000.7(18) Å3
Z
2

Density (calculated)
1.161 Mg/m3
Absorption coefficient
0.349 mm-1
F(000)
1096

Crystal size
0.200 x 0.010 x 0.010 mm3
Theta range for data collection
1.136 to 24.400°.

Index ranges
-28<=h<=28, 0<=k<=30, -5<=l<=5

Reflections collected
9788

Independent reflections
4962 [R(int) = 0.2361]

Completeness to theta = 24.400°
100.0 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
4962 / 236 / 320

Goodness-of-fit on F2
0.911

Final R indices [I>2sigma(I)]
R1 = 0.1181, wR2 = 0.2704

R indices (all data)
R1 = 0.2551, wR2 = 0.3226

Absolute structure parameter
0.3(3)

Largest diff. peak and hole
0.688 and -0.827 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� (a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.


(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





