Crystal Structure Report for Hillhouse

by Werner Kaminsky

Sample Submitted by Hao Xin 

ID – hx_CuSn_1
X-ray Crystallography Laboratory

University of Washington

13. December 2012
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

From a batch of colorless crystals was taken a colorless, seemingly perfect prism, measuring 0.09 x 0.09 x 0.05 mm3 which was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 98.4% complete to 25o  in (.  Twinning was indicated by double-reflection peaks. 

The raw data appeared indeed twinned. With CELL_NOW
 a 117.7o twin operation about  [0.994 1.000 0.996], was found which, if unresolved, would cause considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. A total of 54963 reflections were collected with 3092 symmetry independent reflections covering the indices, h = -11 to 11, k = -11 to 11,  l = -12 to 0 with Rint = 0.0738 indicated that the twin-refined data was of average quality (0.07). Indexing and unit cell refinement indicated then a triclinic lattice.  The space group was found to be P(1  (No.2). 
Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C(H distances in the range 0.95(1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares
The structure is chemically disor-dered, where 4 Cu atoms are distributed between two different tetragonal cluster orientations inside 6 chlorine atoms. The cluster appears empty for colorless crystals, but is known to fill with oxygen, 
 oxidizing two of the 4 Cu(I) atoms to Cu(II) and causing a greenish color of the crystals.
Zn(II) is coordinated with 6 DMSO solvent molecules, showing some minor disorder in 4 of the DMSO molecules.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit. 
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level, disorder omitted for clarity. 

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C12 H36 Cl6 Cu4 O6 S6 Zn

Formula weight 
1001.00

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P(1
Unit cell dimensions
a = 9.2072(13) Å
= 94.590(8)°.


b = 9.3464(13) Å
= 95.015(8)°.


c = 10.0570(13) Å
 = 93.654(8)°.

Volume
857.2(2) Å3
Z
1

Density (calculated)
1.939 Mg/m3
Absorption coefficient
3.989 mm-1
F(000)
500

Crystal size
0.09 x 0.09 x 0.05 mm3
Theta range for data collection
2.04 to 25.35°.

Index ranges
-11<=h<=11, -11<=k<=11, -12<=l<=0

Reflections collected
54963
Independent reflections
3092 [R(int) = 0.0738]

Completeness to theta = 25.00°
98.4 % 

Max. and min. transmission
0.8255 and 0.7154

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
3092 / 36 / 231

Goodness-of-fit on F2
1.101

Final R indices [I>2sigma(I)]
R1 = 0.0709, wR2 = 0.1820

R indices (all data)
R1 = 0.0918, wR2 = 0.1937

Largest diff. peak and hole
1.325 and -0.690 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Hui Li,* Hongshi Jiang and Hong Sun, Hexa-μ-chlorido- μ 4-oxido-tetrakis({1-[(pyridin-2-yl)methyl]-1H-benzimidazole-κN3}copper(II)), Acta Cryst. (2011). E67, m1372.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





