Crystal Structure Report for J Mayer

Submitted by Jeff Warren

Sample ID – jjw002

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A black prism,  0.24 x 0.24 x 0.19 mm of size, was mounted on a glass capillary with oil.  Data was collected at -143oC. 

Crystal-to-detector distance was 30 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 2o.   Data collection was 97.0% complete to 25o  in (.  A total of  180424 partial and complete reflections were collected covering the indices, h = -17 to 17, k = -20 to 20,  l = -25 to 25.  17424 reflections were symmetry independent but the Rint = 0.2823 indicated that the data was problematic (average quality 0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a heavy atom phasing model consistent with the proposed structure, but with considerable electron density to be interpreted by further inspection. 

The structure consists of open channels between the bulky molecules along [1 -1 0] which are partially filled with toluene, imidazolene chloride, DMSO and traces of water.  The intrinsically high degree of disorder of the quasi liquid solvent contents leads to a significant reduction of structure quality.

All hydrogen atoms were located using a riding model. All non-hydrogen - non-solvent atoms were refined anisotropically by full-matrix least-squares.  Solvent molecules reqired restraints to fix their geometries and were refined isotropically.

Although the statistical quality of this ratehr challenging structure is low which may require additional comments when part in a publication, the structure is of value in demonstrating that the imidazoles can be aligned to each other with Fe being a center of inversion (trans-alignment) or Fe sitting on a mirror between the imidazoles (Cis-alignement).  




_1097643391.unknown

