Crystal Structure Report for M. Heinekey
by Betsy Flowers and Werner Kaminsky

Sample Submitted by Jonathan Goldberg 

ID – JMG_A _165
X-ray Crystallography Laboratory

University of Washington

04. June 2014
Data Collection  started: 4/7/2014
Documentation finished: 5/22/2014
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colourless piece , measuring 0.15 x 0.09 x 0.03 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40.00 mm and exposure time was 5 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 98.7% complete to 25o  in (.  A total of 71980 reflections were collected covering the indices, h = -8 to 11, k = -29 to 29,  l = -28 to 26.  7714 reflections were symmetry independent and the Rint = 0.0499 indicated that the data was of better than average quality (0.07).  Indexing and unit cell refinement indicated a monoclinic lattice.  The space group was found to be P 21/n (No.14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Solvent omitted for clarity
Table 1.  Crystal data and structure refinement for jmg_a_165_0m.
Empirical formula 
C24 H38 Cl3 Ir O7 P2

Formula weight 
799.03

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 1 21/n 1

Unit cell dimensions
a = 7.8402(5) Å
= 90°.


b = 20.3459(13) Å
= 91.330(3)°.


c = 19.7129(12) Å
 = 90°.

Volume
3143.7(3) Å3
Z
4

Density (calculated)
1.688 Mg/m3
Absorption coefficient
4.642 mm-1
F(000)
1584

Crystal size
0.15 x 0.09 x 0.03 mm3
Theta range for data collection
2.00 to 30.59°.

Index ranges
-8<=h<=11, -29<=k<=29, -28<=l<=26

Reflections collected
71980

Independent reflections
9544 [R(int) = 0.0499]

Completeness to theta = 30.59°
98.7 % 

Absorption correction
Semi-empirical from equivalents

Max. and min. transmission
0.8733 and 0.5427

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
9544 / 0 / 349

Goodness-of-fit on F2
1.074

Final R indices [I>2sigma(I)]
R1 = 0.0312, wR2 = 0.0630

R indices (all data)
R1 = 0.0462, wR2 = 0.0681

Largest diff. peak and hole
1.358 and -1.321 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





