Crystal Structure Report for C. Luscombe

by Werner Kaminsky

Sample Submitted by Jeffrey Buenaflor

ID – jpb_Ni_2Phen_U2

X-ray Crystallography Laboratory

University of Washington

09. October 2019
Data Collection  started: 10/7/2019
Documentation finished: 10/9/2019
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A yellow, measuring 0.60 x 0.045 x 0.02 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 120 seconds per frame for all sets.  The scan width was 0.75o.   Data collection was 99.2% complete to 25o in (.  A total of 21373 merged reflections were collected covering the indices, -16<=h<=13, -20<=k<=20, -20<=l<=20.  12593 reflections were symmetry independent and a high Rint = 0.2428 indicated that the crystal was of low quality.  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1 (No. 2). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The sample showed signs of solvent loss (CH2Cl2) which reduced quality. A considerable number of restrains on atom positions and displacement parameters were required. The contribution of remaining disordered solvent (ca. 6 CH2Cl2 per unit cell) to the diffraction pattern was removed via SQUEEZE
. The data appeared not to be twinned.
The structure is of moderate quality but may be publishable. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Solvent removed via SQUEEZE.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C33 H30 Cl2 Ni P2

Formula weight 
618.12

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 14.043(3) Å
= 108.098(15)°.


b = 16.906(5) Å
= 90.156(14)°.


c = 17.176(5) Å
 = 110.806(12)°.

Volume
3593.7(17) Å3
Z
4

Density (calculated)
1.142 Mg/m3
Absorption coefficient
0.795 mm-1
F(000)
1280

Crystal size
0.600 x 0.045 x 0.020 mm3
Theta range for data collection
1.518 to 25.027°.

Index ranges
-16<=h<=13, -20<=k<=20, -20<=l<=20

Reflections collected
21373

Independent reflections
12593 [R(int) = 0.2428]

Completeness to theta = 25.000°
99.2 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
12593 / 668 / 565

Goodness-of-fit on F2
1.173

Final R indices [I>2sigma(I)]
R1 = 0.1990, wR2 = 0.4371

R indices (all data)
R1 = 0.3325, wR2 = 0.4999

Largest diff. peak and hole
4.831 and -3.199 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





