Crystal Structure Report for K. Goldberg
by Michael Coggins and W. Kaminsky

Sample Submitted by Kyle Grice 

ID – kag7175
X-ray Crystallography Laboratory

University of Washington

01. September 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I have to pay for my own structures for my research.

The sample consisted of orange blocks inside a colorless matrix. Only the matrix turned out to be crystalline and a homogeneous looking colorless plate of it, measuring 0.18 x 0.10 x 0.01 mm3 was mounted on a glass capillary with oil. Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 95.7% complete to 28.42o and 97.8% complete to 25o in(.  The raw data appeared twinned although the sample looked homogeneous under a polarized light microscope. With cell now
 a 175.5 degrees twin rotation about (010) was found which, if unresolved, caused considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. A total of 5571 (merged) reflections were collected covering the indices, h = -11 to 11, k = 0 to 17,  l = 0 to 28.  5571 reflections were symmetry independent and the Rint = 0.0673 indicated that the data was good (average quality 0.07). Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/c. 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Thermal parameters of C1 and C9 diverged and needed stabilization which introduced 9 restraints for each of these two carbon atoms bonding to the platinum atom of the complex.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
< kag7175.jpg>

Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level.
Table 1: Crystallographic data for the structures provided.

Identification code 
kag7175_0m

Empirical formula 
C24 H34 N P Pt S

Formula weight 
594.64

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 1 21/c 1

Unit cell dimensions
a = 8.4896(4) Å
= 90°.


b = 12.9775(6) Å
= 100.106(2)°.


c = 21.2686(9) Å
 = 90°.

Volume
2306.89(18) Å3
Z
4

Density (calculated)
1.712 Mg/m3
Absorption coefficient
6.252 mm-1
F(000)
1176

Crystal size
0.18 x 0.10 x 0.01 mm3
Theta range for data collection
1.85 to 28.42°.

Index ranges
-11<=h<=11, 0<=k<=17, 0<=l<=28

Reflections collected
5571

Independent reflections
5571 [R(int) = 0.0673]

Completeness to theta = 25.00°
97.8 % 

Max. and min. transmission
0.9401 and 0.3991

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
5571 / 18 / 261

Goodness-of-fit on F2
1.062

Final R indices [I>2sigma(I)]
R1 = 0.0602, wR2 = 0.1406

R indices (all data)
R1 = 0.0867, wR2 = 0.1494

Largest diff. peak and hole
5.262 and -3.256 e.Å-3



� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





