Crystal Structure Report for K Goldberg

Submitted by Luc Boisvert 

Sample ID – luc01

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

05. March 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

An (presumably) orange prism, 0.22 x 0.20 x 0.17 mm was mounted on a glass capillary with oil.  Data was collected at 295oC.

Crystal-to-detector distance was 30 mm and exposure time was 120 seconds per degree for all sets.  The scan width was 2o.   Data collection was 81.9% complete to 20.68o in (.  A total of  89942 partial and complete reflections were collected covering the indices, h = -21 to 21, k = -8 to 9,  l = -18 to 18.  3234 reflections were symmetry independent and the Rint = 0.2679 indicated that the data was of much less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No.14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

This structure, accompanied by two waters per three molecules, was problematic. The compound shows disorder in a fashion that did not allow resolving the weeker (20%) disordered component which made itself known only in showing Pd atoms at 20% site occupancies. However after eliminating strongly deviating diffractions, it was possible to solve the structure without the disordered part leading to the conclusion that a large impurity was involved. The structure is heavily con- and restraint and should be taken with care as to discussion of thermal parameters. O6/O7 - C36 is disordered (disorder not shown).




_1097643391.unknown

