Crystal Structure Report for J Kovacs
Submitted by Venky 

Sample ID – mgv001
by Rodney Swartz & Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

14. May 2007
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A red crystal cut down to 0.40 x 0.20 x 0.20 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




3.70
-56.5
160  
 0 

2
      
(        
41.5




3.70
-145.9
-190.1 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 45 seconds per degree for all sets.  The scan width was 2o.   Data collection was 98.3% complete to 25o  in (.  A total of 27273 partial and complete reflections were collected covering the indices, h = -10 to 10, k = -10 to 10,  l = -27 to 27.  1394 reflections were symmetry independent and the Rint = 0.1117 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a tetragonal P lattice.  The space group was found to be P(4 21 c  (No.114). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

A disordered ligand N4 C6 (not shown) and H5 bind to either of the symmetry related carbon atoms next to N3. (the same on the opposite side of the Fe atom). Although non-centrosymmetric, the whole structure, however, is not chiral.

The structure was edited for publication. No specific problems were found. Because of the disorder, the thermal parameters of C6 had to be weakly restraint.




_1097643391.unknown

