Crystal Structure Report for M. Heinekey

by Werner Kaminsky

Sample Submitted by Jeremiah Scepaniak 

ID – miah_12June13
X-ray Crystallography Laboratory

University of Washington

28. June 2013
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

From a batch of yellow crystals showing signs of twinning was taken a seemingly untwinned needle, measuring 0.4 x 0.07 x 0.06 mm3 which was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 99.6% complete to 25o  in (.  
The raw data, however, nevertheless appeared twinned. With CELL_NOW
 a contact twin was found, which, if unresolved, would cause considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. A total of 7724 (merged) reflections were collected with 2145 symmetry independent reflections covering the indices, h = -11 to 11, k = -19 to 19,  l = -33 to 0 with Rint = 0.1225 indicated that the twin-refined data was of slightly less than  average quality (0.07). Indexing and unit cell refinement indicated then a C-centered orthorhombic lattice.  The space group was found to be C m c a  (No.64). 
Solution by direct methods (SHELXS, SIR97
) produced a heavy atom phasing model consistent with the proposed structure, which, however showed in addition to the twinning extensive disorder. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C(H distances in the range 0.95(1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares
The disorder, where the molecule appears to be folded into itself via a mirror operation through the Ir atom, appeared even in an attempt to refine the structure in P 1 symmetry, thus is not a result of having selected a too high symmetry. In addition to that, the methyl and chlorine bonding to Ir are disordered (see figure 1 for getting an impression of the degree of complexity).

[image: image1.png]oy

(100912)

PLATON-Jun 28 17:32:44 2013

N

NOMOVE FORCED Prob
Temp

-90 1 Cmca R =0.04 RES= O

oo

-41 X





Figure 1: CheckCif image of the asymmetric unit displaying multiple disorder.

[image: image2.png]



Figure 2 shows an ORTEP
 of the molecule with thermal ellipsoids at the 50% probability. Disorder omitted for clarity.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C15 H24 Cl Ir N2

Formula weight 
460.01

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Orthorhombic

Space group 
C m c a

Unit cell dimensions
a = 8.956(2) Å
= 90°.


b = 14.380(2) Å
= 90°.


c = 24.831(5) Å
 = 90°.

Volume
3197.8(11) Å3
Z
8

Density (calculated)
1.911 Mg/m3
Absorption coefficient
8.507 mm-1
F(000)
1776

Crystal size
0.40 x 0.07 x 0.06 mm3
Theta range for data collection
1.64 to 28.47°.

Index ranges
-11<=h<=11, -19<=k<=19, -33<=l<=0

Reflections collected
7724

Independent reflections
2145 [R(int) = 0.1225]

Completeness to theta = 25.00°
99.6 % 

Max. and min. transmission
0.6293 and 0.1320

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
2145 / 15 / 160

Goodness-of-fit on F2
1.127

Final R indices [I>2sigma(I)]
R1 = 0.0384, wR2 = 0.0793

R indices (all data)
R1 = 0.0510, wR2 = 0.0831

Largest diff. peak and hole
1.851 and -2.692 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





