Crystal Structure Report for J. Kovacs
by Werner Kaminsky

Sample Submitted by Michael Coggins 

ID – Michael002
X-ray Crystallography Laboratory

University of Washington

16. December 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A black block, measuring 0.30 x 0.20 x 0.15 mm3 was mounted on a glass capillary with oil.  Data was collected at -183oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 98.7% complete to 25o  in (.  A total of  21006 (merged) reflections were collected covering the indices, h = -16 to 13, k = -23 to 24,  l = -9 to 14.  5905 reflections were symmetry independent and the Rint = 0.041 indicated that the data was excellent (average quality 0.07).  Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c  (No.14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
One half-site methanol solvent molecule, was  found. A BF4-  anion per half dimer corresponded with its disordered to the disorder of the complex.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
<michael002.jpg>
Figure 1. ORTEP of the structure with thermal ellipsoids are at the 50% probability level. Disorder omitted for clarity.
Table 1: Crystallographic data for the structures provided.

	Property
	The structure at 90.0(5) K

	Empirical Formula
	C42 H58 Mn2 N8 O S2, 2(B F4), C H3 O H

	Formula Weight
	1070.63

	Temperature K
	90.0(5)

	Wavelength Å
	0.71073

	Habit/color
	Block / black

	Crystal System, space group
	Monoclinic,  P 21/c  (No. 14)

	Unit Cell Dimensions
	

	a, Å

b, Å

c, Å

(, (deg.) 

(, (deg.) 

(, (deg.) 
	12.1000(8)

18.4235(13)

10.9203(8)

90

96.947(2)

90

	Volume (Å3)
	2416.5(3)

	Density Mg/m3
	1.471

	Reflections Collected/Unique
	21006 / 5905

	Rint / R
	0.0410 /  0.0456

	(m / completeness
	25o / 98.7%

	Final R indices [I>2((I)]
	

	R1, wR2
	0.0538, 0.136

	R indices (all data)
	

	R1, wR2
	0.073, 0.1499





� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





