Crystal Structure Report for P Rathod
by Werner Kaminsky

Sample Submitted by M Sakeesh 

ID – MS0523b
X-ray Crystallography Laboratory

University of Washington

17. June 2011
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A quite small colorless needle, measuring 0.15 x 0.03 x 0.03 mm3 was mounted on a glass capillary with oil.  Data was collected at -163oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 240 seconds per frame for all sets.  The scan width was 2o.   Data collection was 98% complete to 25.43o  in (.  A total of  8425 (merged) reflections were collected covering the indices, h = -9 to 14, k = -5 to 5,  l = -20to 20.  1676 reflections were symmetry independent and the Rint = 0.1916 indicated that the data was problematic (average quality 0.07).  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/n  (No.14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.

[image: image1.wmf]
[image: image2.png]-18 Y

(30051 1)

PLATON-Jun 17 21:20:38 2011

N
—
w
[{e]
—

P12l/n 1

R =0.08

RES=

Prob
Temp

0

noau
—
—J1
oo

-48 X





Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level (at 25% in the .jpg file of the package). 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C7 H7 I N2 O4

Formula weight 
310.05

Temperature 
110(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/n
Unit cell dimensions
a = 11.6722(19) Å
= 90°.


b = 4.7739(8) Å
= 105.363(13)°.


c = 16.803(3) Å
 = 90°.

Volume
902.8(3) Å3
Z
4

Density (calculated)
2.281 Mg/m3
Absorption coefficient
3.537 mm-1
F(000)
592

Crystal size
0.15 x 0.03 x 0.03 mm3
Theta range for data collection
1.26 to 25.43°.

Index ranges
-9<=h<=14, -5<=k<=5, -20<=l<=20

Reflections collected
8425

Independent reflections
1676 [R(int) = 0.1916]

Completeness to theta = 25.43°
98.0 % 

Max. and min. transmission
0.9013 and 0.6190

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
1676 / 13 / 131

Goodness-of-fit on F2
1.025

Final R indices [I>2sigma(I)]
R1 = 0.0773, wR2 = 0.1598

R indices (all data)
R1 = 0.1821, wR2 = 0.2084

Largest diff. peak and hole
0.231 and -0.257 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





_1369822460.unknown

