Crystal Structure Report for J Kovacs

by Dylan Rogers and Werner Kaminsky

Sample Submitted by Penny Poon 

ID – PP6_200

X-ray Crystallography Laboratory

University of Washington

11. December 2019
Data Collection  started: 12/3/2019
Documentation finished: 12/11/2019
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A red piece, measuring 0.28 x 0.19 x 0.12 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 30 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was only 62.2% complete to 25o  in ( because of twinning, low crystal quality and small size.  A total of  10430 unique reflections were collected covering the indices, -17<=h<=17, -18<=k<=18, -24<=l<=24, Rint = 0.  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1  (No.2). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

The data appeared twinned via 180 degrees about (0.006  0.264  1.000) (CELL_NOW
) and after multi-domain integration (SAINT, SADABS within the APEX2 software package by Bruker
) the data was merged utilizing twinabs
.

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure exhibits 4 similar Fe-complexes in a square head to tail formation with NH-S hydrogen bond interactions (see table 2, N2-S3, N5–S7, N8-S1, N11-S5 and others).
In addition to the four complexes was found a (half) disordered methanol solvent molecule. 

The structure is of lower quality but may be publishable. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Dashed lines indicate potential hydrogen bonds.  

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C15.125 H31.50 Fe N3 O1.125 S2
Formula weight 
393.40

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 14.915(4) Å
= 69.378(14)°.


b = 15.369(5) Å
= 74.421(13)°.


c = 20.577(6) Å
 = 70.256(13)°.

Volume
4095(2) Å3
Z
8

Density (calculated)
1.276 Mg/m3
Absorption coefficient
0.946 mm-1
F(000)
1682

Crystal size
0.28 x 0.19 x 0.12 mm3
Theta range for data collection
1.470 to 25.024°.

Index ranges
-17<=h<=17, -18<=k<=18, -24<=l<=24

Reflections collected
10430

Independent reflections
10430 [R(int) = 0.0710]

Completeness to theta = 25.000°
62.2 % 

Absorption correction
Semi-empirical from equivalents

Max. and min. transmission
0.745214 and 0.486333

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
10430 / 864 / 818

Goodness-of-fit on F2
1.047

Final R indices [I>2sigma(I)]
R1 = 0.1060, wR2 = 0.2684

R indices (all data)
R1 = 0.2199, wR2 = 0.3369

Largest diff. peak and hole
0.715 and -0.639 e.Å-3
Table 6.  Hydrogen bonds for pp6_200_0m [Å and °].

____________________________________________________________________________

D-H...A
d(D-H)
d(H...A)
d(D...A)
<(DHA)

____________________________________________________________________________

 N(2)-H(2)...S(3)
1.00
2.32
3.315(16)
173.8

 N(3)-H(3A)...S(5)
0.91
2.70
3.558(17)
156.6

 N(3)-H(3B)...O(1)
0.91
2.29
3.17(2)
162.4

 N(5)-H(5)...S(7)
1.00
2.47
3.414(19)
156.6

 N(6)-H(6C)...O(2)
0.91
2.16
2.97(3)
148.4

 N(6)-H(6D)...S(1)
0.91
2.86
3.697(17)
152.9

 N(8)-H(8)...S(1)
1.00
2.46
3.407(19)
158.3

 N(9)-H(9C)...O(3)
0.91
2.23
3.03(2)
146.7

 N(9)-H(9D)...S(7)
0.91
2.89
3.701(17)
148.6

 N(11)-H(11)...S(5)
1.00
2.35
3.335(18)
169.0

 N(12)-H(12A)...S(3)
0.91
2.80
3.631(17)
152.6

 N(12)-H(12B)...O(4)
0.91
2.25
3.06(3)
149.0

 C(1)-H(1C)...S(2)
0.98
3.02
3.90(3)
150.5

 C(16)-H(16A)...O(1)#2
0.98
2.49
3.40(3)
155.2

 C(21)-H(21A)...S(4)
0.99
2.99
3.53(3)
115.3

 C(25)-H(25A)...S(7)
0.99
2.96
3.73(3)
135.8

 C(36)-H(36A)...S(6)
0.99
2.96
3.49(3)
114.3

 C(37)-H(37B)...O(4)#3
0.99
2.57
3.46(3)
149.1

 C(40)-H(40A)...S(1)
0.99
2.90
3.70(3)
138.8

 C(60)-H(60C)...O(4)
0.98
1.85
2.43(4)
115.0

____________________________________________________________________________

Symmetry transformations used to generate equivalent atoms: 

#1 -x,-y,-z+1    #2 -x+1,-y+1,-z    #3 x,y+1,z 

� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





