Crystal Structure Report for 
Prof. Julie Kovacs
Submitted by Rose Theisen
Sample ID – RMT-5-N2S3
by Antonio DiPasquale & Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

28. July 2005
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\kovacs\rose\rmt-5-N2S3
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

A.DiPasquale:(206) 616-4212

(x-ray lab):     (206) 543-0210 

Email:
adipasqu@u.washington.edu
An orange prism 0.48 × 0.12 × 0.12 mm in size was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposures as follows:

Scan 

Type
Scanlength (deg.)  start (deg.):(     
      (
         (     
 ( 

1
      
(        
178.6


          
 3.703    -22.297   160.000     0.000      

2

ω
76.5



 3.703  -145.904  -190.073   74.141
Crystal-to-detector distance was 30 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 1.3o.   Data collection was 99.5% complete to 25o in (.  A total of 53,920 partial and complete reflections were collected covering the indices, h = -24 to 24, k = -20 to 20,

 l = -28 to 28.  7,568 reflections were symmetry independent and the Rint = 0.0457 indicated that the data was of better than average quality (0.07). 

Indexing and unit cell refinement indicated an orthorhombic P lattice.  The space group was found to be Pbca (No.61).
The data was integrated and scaled using hkl-2000. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor, which is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR-2004) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were placed using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares (SHELXL-97).



_1097643391.unknown

