Crystal Structure Report for J Kovacs

Sample by Santiago Toledo 

Sample ID – santiago2009_002

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

14. January 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A brown prismatic needle, 0.10 x 0.22 x 0.59 mm of size was mounted on a glass capillary with oil.  Data was collected at -143oC.

Crystal-to-detector distance was 30 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 1.2o.   Data collection was  99.2% complete to 25o  in (.  A total of  84764 partial and complete reflections were collected covering the indices, h = -14 to 14, k = -25 to 25,  l = -31 to 31.  6076 reflections were symmetry independent and the Rint = 0.1121 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated an orthorhombic P lattice.  The space group was found to be P b c a (No.61). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

This solvent free structure exhibits an inermolecular hydrogen bond between the hydroxy and a symmetry related sulfur atom. The alcohol is binding to the central iron of the molecule via its lone pairs. 

There is only one complex, one alcohol and one PF6- in the asymmetric unit. The graph shows in addition a symmetry related unit to highlight the hydrogen bond.







_1097643391.unknown

