Crystal Structure Report for J Kovacs
Submitted by Santiago Toledo 

Sample ID – santiago25
by Werner Kaminsky (data by R. Swartz)
X-ray Crystallography Laboratory

University of Washington

02. July 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A presumably black prism, 0.40 x 0.35 x 0.35 mm was mounted on a glass capillary with oil.  Data was collected at -143oC.
Crystal-to-detector distance was 40 mm and exposure time was 45 seconds per degree for all sets.  The scan width was 1o.   Data collection was 96.1% complete to 25o  in (.  A total of  273511 partial and complete reflections were collected covering the indices, h = -16 to 16, k = -17 to 14,  l = -47 to 47.  23514 reflections were symmetry independent and the Rint = 0.0776 indicated that the data was of average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a partial heavy atom phasing model consistent with the proposed structure but indicating strong disorder. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The structure falls into the rubric 'impossible to solve' thus, it took a while. 33% of all atoms of the structure are disordered (split into two positions),  Because of the size and complexity of the disorder, an Ortep was created showing only one of the two dimers in the asymmetric unit of this structure suppressing the disorder (to be created from 'shelxl_one_dimer.res').
As to wether this structure can be published: my suggestion is to let that be decided by the referees. I edited the cif file to allow for publication.




_1097643391.unknown

