Crystal Structure Report for M Heinekey

by Werner Kaminsky

Sample Submitted by S Conelly 

ID – sjc04

X-ray Crystallography Laboratory

University of Washington

04. November 2011
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless, twinned plate, measuring 0.45 x 0.30 x 0.08 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. Crystal-to-detector distance was 40 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 98.6% complete to 25o  in (.  The sample showed concave interceptions on its edges which are typical signs of twinning. 

With CELL_NOW
 a 179.3o twin operation about  (0 0  1)  was found which, if unresolved, would cause considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. A total of 22075 (merged) reflections were collected with 6971symmetry independent reflections covering the indices, h = -12 to 12, k = -13 to 12,  l = 0 to 21 with Rint = 0.1155 indicated that the twin-refined data was appropriate (average quality 0.07). Indexing and unit cell refinement indicated then a triclinic P lattice.  The space group was found to be P(1  (No.2). 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C(H distances in the range 0.95(1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit with thermal ellipsoids at the 50% probability. 
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C36 H31 B F20 Si2

Formula weight 
910.60

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 10.7829(18) Å
= 105.922(9)°.


b = 10.8765(17) Å
= 100.913(9)°.


c = 17.585(3) Å
 = 95.550(10)°.

Volume
1923.1(5) Å3
Z
2

Density (calculated)
1.573 Mg/m3
Absorption coefficient
0.217 mm-1
F(000)
920

Crystal size
0.45 x 0.30 x 0.08 mm3
Theta range for data collection
1.95 to 25.74°.

Index ranges
-12<=h<=12, -13<=k<=12, 0<=l<=21

Reflections collected
6971

Independent reflections
6971 [R(int) = 0.1155]

Completeness to theta = 25.00°
98.6 % 

Max. and min. transmission
0.9828 and 0.9085

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
6971 / 6 / 541

Goodness-of-fit on F2
0.960

Final R indices [I>2sigma(I)]
R1 = 0.0971, wR2 = 0.1548

R indices (all data)
R1 = 0.2421, wR2 = 0.1883

Largest diff. peak and hole
0.806 and -0.418 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





