Crystal Structure Report for M Heinekey

by Werner Kaminsky

Sample Submitted by S Conelly 

ID – sjc16

X-ray Crystallography Laboratory

University of Washington

21. January 2014
Data Collection  started: 1/16/2014
Documentation finished: 1/21/2014
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A dichroic yellow/red prism, measuring 0.18 x 0.17 x 0.06 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40.1 mm and exposure time was 10 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.6% complete to 25o  in (.  A total of  51171 reflections were collected covering the indices, h = -16 to 20, k = -20 to 20,  l = -31 to 31.  13625 reflections were symmetry independent and the Rint = 0.0441 indicated that the data was of better than average quality (0.07).  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/n  (No. 14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Hydrogen atom H1 was refined positionally (See figure 1). Dichloromethane solvent appeared more than 5 fold disordered on two sites, one around a center of symmetry within the asymmetric unit. The exact amount was not derived accurately, nor was it certain that all of the solvent was properly included. Thus, SQUEEZE
 was used to remove the solvent contribution from the data. The SQUEEZE estimate was 6 CH2Cl2 molecules per cell which agrees well with a total of 6 larger voids within the unit cell.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. CH2Cl2 solvent ‘squeezed’ out.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C48 H44 B Cl F20 P2 Pd

Formula weight 
1215.43

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/n

Unit cell dimensions
a = 15.7067(4) Å
= 90°.


b = 15.5664(5) Å
= 106.4310(10)°.


c = 23.4834(6) Å
 = 90°.

Volume
5507.1(3) Å3
Z
4

Density (calculated)
1.466 Mg/m3
Absorption coefficient
0.543 mm-1
F(000)
2440

Crystal size
0.18 x 0.17 x 0.06 mm3
Theta range for data collection
2.23 to 28.35°.

Index ranges
-16<=h<=20, -20<=k<=20, -31<=l<=31

Reflections collected
51171

Independent reflections
13635 [R(int) = 0.0441]

Completeness to theta = 25.00°
99.6 % 

Max. and min. transmission
0.9682 and 0.9086

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
13635 / 0 / 673

Goodness-of-fit on F2
1.017

Final R indices [I>2sigma(I)]
R1 = 0.0407, wR2 = 0.0880

R indices (all data)
R1 = 0.0644, wR2 = 0.0950

Largest diff. peak and hole
0.898 and -1.060 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� A. Spek, J. Appl. Cryst. (2003), 36, 7-13; P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





