Crystal Structure Report for K Goldberg
Submitted by Zoe Davis
Sample ID – smkvi5
by Werner Kaminsky 
X-ray Crystallography Laboratory

University of Washington

12. July 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A brown prism cut down to 0.24 x 0.24 x 0.10 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with three sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
160.8




3.70
49.7
160  
 0 

2
      
(        
19.9




3.70
145.9
-175.0 
 -74.1           

3
      
(        
46.5




3.70
94.1
-172.5 
 74.1
Crystal-to-detector distance was 30 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 2o.   Data collection was 98.8% complete to 28.28o and 98.8% complete to 25o  in (.  A total of  40197 partial and complete reflections were collected covering the indices, h = -17 to 17, k = -18 to 18,  l = -19 to 19.  6222 reflections were symmetry independent and the Rint = 0.0629 indicated that the data was of average quality (0.07). 

Indexing and unit cell refinement indicated a orthorhombic P lattice.  The space group was found to be P 21 21 21 (No.19). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The structure refined without problems. No restraints were applied. The tilt of the phenyl group with the bridging carbon atoms C6 and C7 cause the t-butyls to follow to tilt out of mirror symmetry of the plane defined by P1, Rh1, P2, N1, C3, and C24 prohibiting a higher symmetry. The structure is enantiomorphically twinned, the fitted ratio between the enantiomeres is 52(5) %.
The non-crystallographic symmetry of the molecule is close to calss 2(C2) where the twofold rotation runs through C3-N1-Rh1-C24 which are not exactly on a strauigth line.



_1097643391.unknown

