Crystal Structure Report for A. Vignesh

by Werner Kaminsky

Sample 

ID – SML4
X-ray Crystallography Laboratory

University of Washington

22. August 2014
Data Collection  started: 8/20/2014
Documentation finished: 8/22/2014
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

An orange plate, measuring 0.17 x 0.15 x 0.05 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 5 seconds per frame for all sets.  The scan width was 1o.   Data collection was 99.8% complete to 25o  in (.  
The data appeared twinned into two domains (CELL_NOW
) and after  multi-domain integration (SAINT, SADABS within the APEX2 software package by Bruker.
) and merging (twinabs
) a total of  86402 reflections covered the indices, h = -11 to 12, k = -19 to 16,  l = -20 to 0.  8389 reflections were symmetry independent and the Rint = 0.06013 indicated that the data was good  (average quality 0.07).  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1 (No. 2). 

Solution by direct methods (SHELXS, SIR97
) produced a partial heavy atom phasing model consistent with the proposed structure.  The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The lattice contains infinite channels which are filled with completely disordered solvent (methanol, chloroform). The contribution of those solvent molecules to the diffraction pattern was removed with the help of SQEEZE. 

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]I
IS .

o JiE

do G e o]

TN NI N N





Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Solvent removed via SQUEEZE.
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C36 H26 N3 O4 P Pd

Formula weight 
701.97

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 8.8556(4) Å
= 60.333(3)°.


b = 14.9323(11) Å
= 80.889(3)°.


c = 15.0168(7) Å
 = 78.713(5)°.

Volume
1687.66(17) Å3
Z
2

Density (calculated)
1.381 Mg/m3
Absorption coefficient
0.639 mm-1
F(000)
712

Crystal size
0.17 x 0.15 x 0.05 mm3
Theta range for data collection
2.35 to 28.47°.

Index ranges
-11<=h<=11, -19<=k<=16, -20<=l<=0

Reflections collected
86402

Independent reflections
8389 [R(int) = 0.0613]

Completeness to theta = 25.00°
99.8 % 

Max. and min. transmission
0.9688 and 0.8992

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
8389 / 0 / 406

Goodness-of-fit on F2
1.052

Final R indices [I>2sigma(I)]
R1 = 0.0547, wR2 = 0.1215

R indices (all data)
R1 = 0.0818, wR2 = 0.1299

Largest diff. peak and hole
0.572 and -1.051 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� A. Spek, J. Appl. Cryst. (2003), 36, 7-13; P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





