Crystal Structure Report for K. Goldberg
by Werner Kaminsky

Sample Submitted by Takiya Ahmed 

ID – tak5
X-ray Crystallography Laboratory

University of Washington

10. September 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A yellow block, measuring 0.07 x 0.07 x 0.05 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 99.4% complete to  25o  in (.  A total of  70408 (merged) reflections were collected covering the indices, h = -12 to 12, k = -18 to 18,  l = -20 to 20.  9670 reflections were symmetry independent and the Rint = 0.0531 indicated that the data was good (average quality 0.07).  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1  (No.2). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure is chemically disordered which causes elongated thermal ellipsoids of the t-butyls and even the Ir atom. 
65% of the structure: 
C23 H40 Cl0 Ir O3 P2 (major component 1)  and the rest is 
C23 H41 Ir O3 P2 (minor component 2),  

where two hydrides were indicated by electron density maxima at approximately  1.55(1) Å towards the iridium metal center of the complex.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
a) <tak5.jpg>,    b) <ortep_4.JPG>.
Figure 1a). ORTEP of the structure with major component 1 with thermal ellipsoids at the 50% probability level. 1b)  similarily, minor component 2. Disorder omitted for clarity.
Table 1: Crystallographic data for the structures provided.

Identification code 
tak5_0m

Empirical formula 
C23 H40.35 Cl0.65 Ir O3 P2

Formula weight 
642.09

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 8.24560(10) Å
= 100.5310(10)°.


b = 12.2955(2) Å
= 95.3920(10)°.


c = 13.3124(2) Å
 = 104.7770(10)°.

Volume
1268.93(3) Å3
Z
2

Density (calculated)
1.680 Mg/m3
Absorption coefficient
5.477 mm-1
F(000)
641

Crystal size
0.07 x 0.07 x 0.05 mm3
Theta range for data collection
1.75 to 33.24°.

Index ranges
-12<=h<=12, -18<=k<=18, -20<=l<=20

Reflections collected
70408

Independent reflections
9670 [R(int) = 0.0531]

Completeness to theta = 25.00°
99.4 % 

Max. and min. transmission
0.7713 and 0.7004

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
9670 / 20 / 301

Goodness-of-fit on F2
1.041

Final R indices [I>2sigma(I)]
R1 = 0.0375, wR2 = 0.0740

R indices (all data)
R1 = 0.0598, wR2 = 0.0833

Largest diff. peak and hole
2.863 and -4.673 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





