Crystal Structure Report for 
Prof. Jim Mayer
Submitted by Todd Markle
Sample ID – tfm1-184
by Antonio DiPasquale
corrected by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

25. March 2005
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\mayer\markle\tfm1-184
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data


A.DiPasquale:(206) 616-4212

(x-ray lab):     (206) 543-0210 

Email:
adipasqu@u.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless needle 0.48 × 0.05 × 0.05 mm in size was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposures as follows:

Scan 

Type
Scanlength (deg.)  start (deg.):(     
      (
         (     
 ( 

1
      
(        
129.5


          
4.759    84.759    160.000     0.000      

2

ω
61.4



4.759   -25.904  -200.338   74.141
Crystal-to-detector distance was 32.3 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 1.0o.   Data collection was 98.2% complete to 25o in (.  A total of 10,229 partial and complete reflections were collected covering the indices, h = 0 to 12, k = 0 to 33, l = 0 to 8.  1,925 reflections were symmetry independent and the Rint = 0.0840 indicated that the data was of less than average quality (0.07). 

Indexing and unit cell refinement indicated an orthorhombic P lattice.  The space group was found to be P b c m (No.57). 

The data was integrated and scaled using hkl-2000. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor, which is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR-97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms, with the exception of the hydroxyl proton, were placed using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares (SHELXL-97).  H1 was located from the difference map and its position was refined isotropically.
Hydrogen atoms that are bonded to in-plane carbon atoms of both tBu moieties are rotationally disordered.
W.Kaminsky: tel. (206) 543 7585


(x-ray lab):     tel. (206) 543 0210 


Email: � HYPERLINK mailto:kaminsky@wintensor.com ��kaminsky@wintensor.com�











_1097643391.unknown

