Crystal Structure Report for J. Mayer

by Tom Porter & Werner Kaminsky

Sample ID

trp042314b
X-ray Crystallography Laboratory

University of Washington

25. April 2014
Data Collection  started: 4/23/2014

Documentation finished: 4/25/2014

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless prism, measuring 0.20 x 0.15 x 0.10 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.6% complete to 25o  in (.  
The data appeared twinned into two domains (CELL_NOW
), related by a two-fold rotation about (1 0 0) and after  multi-domain integration (SAINT, SADABS within the APEX2 software package by Bruker.
) and merging (twinabs
) a total of  110506 reflections covered the indices, h = -12 to 12, k = -13 to 8,  l = -14 to 14, with 4754 unique data. The Rint = 0.0306 indicated that the data was excellent  (average quality 0.07).  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1 (No. 2). 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. With the exeption of the hydroxyl group, where the hydrogen was refined positionally, all other hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]7, /
o e
C3, N

3_:/ T\ / SGN '/m R

c1y

i VAl / ‘\,./ T




Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Identification code 
twin4a

Empirical formula 
C22 H31 N O

Formula weight 
325.48

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 9.4051(9) Å
= 105.654(4)°.


b = 9.8865(11) Å
= 99.285(4)°.


c = 11.2252(10) Å
 = 101.120(4)°.

Volume
960.69(16) Å3
Z
2

Density (calculated)
1.125 Mg/m3
Absorption coefficient
0.068 mm-1
F(000)
356

Crystal size
0.20 x 0.15 x 0.10 mm3
Theta range for data collection
2.21 to 28.34°.

Index ranges
-12<=h<=12, -13<=k<=8, -14<=l<=14

Reflections collected
4754

Independent reflections
4754 [R(int) = 0.0306]

Completeness to theta = 25.00°
99.6 % 

Max. and min. transmission
0.9933 and 0.9866

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
4754 / 0 / 228

Goodness-of-fit on F2
1.051

Final R indices [I>2sigma(I)]
R1 = 0.0467, wR2 = 0.1191

R indices (all data)
R1 = 0.0594, wR2 = 0.1251

Largest diff. peak and hole
0.340 and -0.225 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





