Crystal Structure Report for Kovacs

Submitted by Terry Kitagawa 

Sample ID – ttk-010605

by Jason Benedict and Erica Gunn

X-ray Crystallography Laboratory

University of Washington

18. January 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear crystal plate cut down to 0.48 x 0.24 x 0.05 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
159.2




5.90    -103.0
160  
 0 

2
      
(         44.4
 



5.90
145.9
-179.9 
 -74.1           

Crystal-to-detector distance was 35 mm and exposure time was 90 seconds per degree for all sets.  The scan width was 1o.   Data collection was 98.4% complete to 25.68o and 99% complete to 25o  in (.  A total of 112336 partial and complete reflections were collected covering the indices, h = -21 to 21, k = -21 to 21,  l = -33 to 33.  7893 reflections were symmetry independent and the Rint = 0.1013 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be Pbca (no. 61). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The asymmetric unit of this structure consists of the cationic iron complex, a tetraphenyl borate anion, and two THF solvent molecules. THF hydrogen bonds to one free amine in the iron complex. Additional hydrogen bonding occurs between the NO oxygen and another free amine. Very poor crystal quality resulted in poor diffraction patterns. The cif-check routine returns one A-level warning, regarding low percent of unique reflections, the direct result of poor scattering from the sample. All additional warnings are irrelevant, or the result of the poor data. Please consult with the crystallographer about the publishability of the structure. 




_1097643391.unknown

