Crystal Structure Report for Kovacs

Submitted by Terry Kitagawa

Sample ID – ttk-040405

by Jason B. Benedict  

and Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

02. May 2005
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\kovacs\terry\ttk-040405

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear crystal needle 0.07 x 0.07 x 0.36 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
170.6




3.70
31.7
160  
 0 

2
      
(        
81.5




0
25.9
126.0 
 -74.1           

Crystal-to-detector distance was 30 mm and exposure time was 120 seconds per degree for all sets.  The scan width was 1.0o.   Data collection was 96.2% complete to 26.56o and 98.3% complete to 25o in (.  A total of 141218 partial and complete reflections were collected covering the indices, h = -31 to 31, k = -10 to 10, l = -32 to 32.  5711 reflections were symmetry independent and the Rint = 0.2855 indicated that the data was of considerably less than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/()2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

This structure contains a disordered t-butyl group attached to S1, denoted by the blue and red ellipsoids. Two pairs of ammonium protons (a total of 4 protons) with intersecting N-H-H-N geometries were each assigned half site occupancies resulting in an overall 2+ charge for the ligand, required by the presence of two tosylate counter ions within the asymmetric unit. These protons are distinguished by a dashed yellow line in the illustration on the following page.




