Crystal Structure Report for Kovacs

Submitted by Terry Kitagawa

Sample ID – ttk-061405

by Jason B. Benedict 

and Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\kovacs\terry\ttk-061405

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear crystal prism cut down to 0.36 x 0.24 x 0.24 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




5.91
31.5
160  
 0 

2
      
(        
104.4




0
25.9
105.6 
 -74.1           

Crystal-to-detector distance was 35 mm and exposure time was 45 seconds per degree for all sets.  The scan width was 1.0o.   Data collection was 84.8% complete to 28.28o and 97.8% complete to 25o in (.  A total of 59867 partial and complete reflections were collected covering the indices, h = -14 to 14, k = -10 to 12, l = -43 to 42. 7151 reflections were symmetry independent and the Rint = 0.0643 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No.14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/()2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

Crystals of this compound remained fully intact under oil after a period of 24 hours. There is slight disorder (approx. 2% determined by treating the S1 site occupancy as a variable parameter) presumably the enantiomeric metal complex superimposed upon itself present in these crystals. The disorder likely arises due to the similarity of shape between enantiomers and the lack of specific non-covalent interactions between molecules.




