Structure Report for Sasaki

Crystal submitted by Byung Jn Kim 

Sample ID – uobj2
Structure by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

26. September 2011
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear crystal prism, 0.55 x 0.29 x 0.15 mm3 of size was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure.
Crystal-to-detector distance was 30 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 2o.   Data collection was 99.9% complete to 25o  in (.  A total of  25920 partial and complete reflections were collected covering the indices, h = -9 to 9, k = -17 to 18,  l = -21 to 21.  4002 reflections were symmetry independent and the Rint = 0.0495 indicated that the data was good (average quality = 0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21 (No. 4).
The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Hydrogen bonds observed with  H..A smaller than r(A) + 2.000 Angstroms  and  angle DHA larger than 110 deg.

 D-H           d(D-H)   d(H..A)   <DHA    d(D..A)   A

 N2-H2A         0.857    2.349   145.55    3.094    O1 [ x-1, y, z ]

 N2-H2B         0.833    2.244   171.30    3.069    O5 [ x-1, y, z ]
Hydrogen bonding between the hydrogen atoms on N2 to O1 as well as O5 of a symmetry related molecule indicates a week dimerization.
In the absence of atoms with scattering amplitudes larger than that of Si, the absolute configuration could not be established.

The structure is of high qualit ready for publication.



_1097643391.unknown

